## Slide 1
Course on Bulking Sludge
Bulking Sludge:
General Introduction
Mark C.M. van Loosdrecht

## Slide 2: Bulking sludge
One of the most significant problems in activated sludge treatment plants

## Slide 3
Lecture plan
General introduction
Laboratory results
Practical implications
Microscopic Evaluation (Per Nielsen)

## Slide 4
  expand the volume of the activated sludge floc, resulting in lower density,
  or extend beyond the floc particles and physically hold them apart into the bulk solution.
Presence of excessive quantities of filamentous microorganisms that either:
Bulking sludge

## Slide 5
Why is it a long lasting problem?:
Complex interactions;
Difficult communication engineers/microbiologists;
(Too) much empirical/anecdotal information;
It is a process engineering problem, with a process engineering origin, but a microbiological phenomenon.
Bulking sludge

## Slide 6
Bulking sludge causes
PROCESS CONTROL
KINETICS
SLUDGE BULKING
HYDRODYNAMICS
STORAGE
FOAMING OR
SCUMMING
FEEDING
PATTERN
MICROBIAL PHISIOLOGY
FISH, DGGE, PCR
MOLECULAR MICROBIOLOGY
PIN POINT FLOCS
BLANKET
RISISNG
OPERATIONAL PARAMETERS:
WASTEWATER
COMPOSITION
EPS
MODELING
CHAOTIC
BEHAVIOR OF AS
EM, CLSM, Flow Cit.
FILAMENTS a, b, c, …
WHO EATS WHAT?
TRANSPORT PROCESSES
SLUDGE
SETTLEABILTY
Martins, A. M., Pagilla, K., Heijnen, J. J., & van Loosdrecht, M. C. (2004). Filamentous bulking sludge—a critical review. Water research, 38(4), 793-817.

## Slide 7
The settler occupies about half of the total area
Influent
Effluent
Waste sludge
Return sludge
Settler
Aeration tank
Biochemical stage
Physical stage
Bulking sludge

## Slide 8
Functions:
Clarification
Thickening
Sludge settleability is determined
by sludge volume index (SVI)
Sludge settling
with V as volume of settled sludge
after 30 minutes
Diluted SVI: V < 250 ml

## Slide 9
Good activated sludge
settleability (low SVI)
Lower land area requirements
Better process control
Increased plant performance
Bulking sludge

## Slide 10
Appearance of settling problems…
Batch systems converted to continuous flows systems
Influent
Effluent
Waste sludge
Return sludge
Settler/Thickener
Aeration tank
Influent
Fill
React
Settle
Effluent
Draw
Waste sludge
Sludge
wastage
New cycle
Idle
Fill-and-draw reactors (Ardern and Lockett, 1914; Pasveer, 1950)
Bulking sludge

## Slide 11
Donaldson and Davidson (1930-1950)
Designers (1950-1960)
SVI small
Plug flow
Defined redox zones
SVI large
Completely mixed
Mixed redox zones
Bulking sludge –
nutrient removal

## Slide 12
Suggested causative condition | Indicative filament types
Low DO concentration | Sphaerotilus Natans, Type 1701 and Haliscomenobacter hydrossis
Low F/M, longer sludge ages | ‘Micothrix parvicella’, Nocardia spp., Haliscomenobacter hydrossis, Types 021N, 0041, 0675, 0092, 0581, 0961, 0803, 0914 and 1851
Presence of sulphides / septic wastewater | Thiothrix spp.., Beggiatoa and Type 021N
Readily biodegradable soluble substrates | Sphaerotilus Natans, Thiothrix spp., Haliscomenobacter hydrossis, ‘Nostocoida limicola’, Type 1851
Slowly biodegradable or particulate substrates | ‘Micothrix parvicella’, Type 0041, 0675 and 0092
N or P deficiency | Thiothrix spp., Sphaerotilus Natans, Haliscomenobacter hydrossis, Type 021N, 0041 and 0675
Low pH (<6) | Eukaryotic fungi
There are no certainties about the causative conditions.
Bulking sludge microbiology
Martins, A. M., Pagilla, K., Heijnen, J. J., & van Loosdrecht, M. C. (2004). Filamentous bulking sludge—a critical review. Water research, 38(4), 793-817.cc

## Slide 13
Bulking sludge microbiology
https://library.oapen.org/handle/20.500.12657/30982
https://www.midasfieldguide.org

## Slide 14
Ks, fil < Ks, floc
Low [S]: -qs, fil > -qs, floc
High [S]: -qs, fil < -qs, floc
Kinetic selection theory
(Chudoba et al., 1973)
Chudoba, J., Čech, J. S., Farkač, J., & Grau, P. (1985). Control of activated sludge filamentous bulking: experimental verification of a kinetic selection theory. Water Research, 19(2), 191-196.

## Slide 15
Selector
150 ml/g
Rensink, J. H. (1974). New approach to preventing bulking sludge. Journal (Water Pollution Control Federation), 1888-1894.

## Slide 16
Selector design
Selector design guidelines for aerobic, anoxic, and anaerobic selectors in domestic
sewage treatment
Martins, A. M., Pagilla, K., Heijnen, J. J., & van Loosdrecht, M. C. (2004). Filamentous bulking sludge—a critical review. Water research, 38(4), 793-817.cc

## Slide 17
Filamentous bacteria have lower substrate storage capacity
→ Not correct
Maintenance requirements
Inhibition by denitrification intermediates
→ Both no evidence
Other theories

## Slide 18
Much anecdotic information; hear-say type…
Recognition of bacteria mainly based on morphology not on true identity or physiological properties;
Need for lab scale systems in a proper scale-down system.
Bulking sludge study
Nocardia