## Slide 1
Course on Bulking Sludge
Filamentous Bacteria: Bulking and Foaming in Activated Sludge
Per Halkjær Nielsen
Notes: Welcome to this lecture about
My name is --- and Im coming from Aalborg uni, dk
Im very happy to tell you more about MIDAS Field Guide and
I hope it will be of great help for you and your studies in wastewater treatment and nutrient recovery systems and anaerobic digesters

## Slide 2
Severe foam problems
Normal aeration tanks

## Slide 3
”Slime” bacteria
Good floc-formers
Filamentous bacteria
Bio-P bacteria
Which microorganisms are “good” or “bad”?
Nitrifiers

## Slide 4
Identification of filamentous microorganisms by light microscopy
2000
1975
Dirk Eikelboom
TNO Delft

## Slide 5
Gram staining
Neisser staining
Type 021N

## Slide 6
Identification of Microthrix parvicella by light microscopy and staining

## Slide 7
Suggested causative condition | Indicative filament types
Low DO concentration | Sphaerotilus Natans, Type 1701 and Haliscomenobacter hydrossis
Low F/M, longer sludge ages | ‘Micothrix parvicella’, Nocardia spp., Haliscomenobacter hydrossis, Types 021N, 0041, 0675, 0092, 0581, 0961, 0803, 0914 and 1851
Presence of sulphides / septic wastewater | Thiothrix spp.., Beggiatoa and Type 021N
Readily biodegradable soluble substrates | Sphaerotilus Natans, Thiothrix spp., Haliscomenobacter hydrossis, ‘Nostocoida limicola’, Type 1851
Slowly biodegradable or particulate substrates | ‘Micothrix parvicella’, Type 0041, 0675 and 0092
N or P deficiency | Thiothrix spp., Sphaerotilus Natans, Haliscomenobacter hydrossis, Type 021N, 0041 and 0675
Low pH (<6) | Eukaryotic fungi
There are no certainties about the causative conditions.
Bulking sludge microbiology
(filamentous morphotypes)
Martins, A. M., Pagilla, K., Heijnen, J. J., & van Loosdrecht, M. C. (2004). Filamentous bulking sludge—a critical review. Water research, 38(4), 793-817.

## Slide 8
The new comprehensive ecosystem-specific MiDAS reference database provides species-level identification and classification of all microbes!
2022
2023
740 WWTPs
433 Cities
32 Countries
6 Continents
2024

## Slide 9
Reference
database
16S rRNA gene amplicon sequencing
Reference databases are essential for identification and classification!
Ca. Microthrix
unknown
Tetrasphaera
Dechloromonas
unknown
Trichococcus
Rhodoferax
unknown
unknown
Gordonia
Sphingopyxis
Ferruginibacter
unknown
unknown
Propionicimonas
Relative abundance [%]

## Slide 10
Many unknown
No taxonomy for the unknown
16S rRNA gene amplicon sequencing
Incomplete!
MiDAS:
Ecosystem-specific database and taxonomy: complete!
Århus
Reference databases are essential for identification and classification!
Ca. Microthrix
unknown
Tetrasphaera
Dechloromonas
unknown
Trichococcus
Rhodoferax
unknown
unknown
Gordonia
Sphingopyxis
Ferruginibacter
unknown
unknown
Propionicimonas
Relative abundance [%]
Ca. Microthrix
Ca. Amarolinea
Tetrasphaera
Dechloromonas
midas_g_12
Trichococcus
Rhodoferax
OLB8
midas_g_173
Gordonia
Sphingopyxis
Ferruginibacter
Ca. Villigracilis
midas_g_3
Propionicimonas
Relative abundance [%]
Taxonomy for all microbes at species level
Dueholm et al., 2022 Nat. Commun.
Dueholm et al., 2020 mBio

## Slide 11
Identification of filaments in foaming WWTPs
Gordonia sp.
Control: chemical BC100

## Slide 12: Filamentous microorganisms are important for floc structure

## Slide 13
SV – sludge volumen
after 30 min settling (ml/l)
(D)SVI: (Diluted) Sludge Volume Index
= SV/Suspended solids
≈ 100-200 ml/gSS
Few filaments
Good flocs
Many filaments
Poor settling
Many filamentous organisms cause bulking (poor settling -> risk of poor effluent quality)
Poor settling

## Slide 14
CFX64
EUBmix
Nierychlo et al., 2020. Front. Microbiol.
Nierychlo et al., 2019. FEMS Microbiol. Ecol.
Strong correlation between specific filamentous bacteria and poor settling
(high DSVI)

## Slide 15
Filamentous in situ
Some members of the genus filamentous in situ
Most filamentous bacteria are known

## Slide 16
Geographical distribution of filamentous bacteria – genus level

## Slide 17
Geographical distribution of filamentous bacteria – species level
Leptothrix: Not all are filamentous: little/no effect on settling.
Ca. Villigraciliis: example of a filament present inside the flocs – little/no effect on settling.
Ca. Microthrix

## Slide 18
New species!
Process type
Temperature
Ca. Microthrix parvicella
Ca. Microthrix subdominans (new species)
New FISH probes
Low global diversity of filamentous Ca. Microthrix
Nierychlo et al., 2021 Frontiers in Microbiology

## Slide 19
Ca. Microthrix: Plant-specific occurrence and species-specific seasonal variations
Causes severe bulking problems in many plants – but not all. Reason unknown.
Consumes only lipids (not acetate or glucose)
Two species show differences in seasonal dynamics:
  Ca. M. parvicella: strong seasonal dynamic (peak spring and fall).
  Ca. M. subdominans: no clear seasonal dynamic
Can sometimes be controlled by chemicals (poly-Al compounds) – probably only Ca. M. subdominans
Species resolution important!
Relative abundance in Danish WWTPs: 2006-2018
Nierychlo et al., 2020, Front. Microbiol.
Marta
Nierychlo

## Slide 20
Trichococcus – most abundant in Europe
Trichococcus – magenta (FISH probe NLIMI91)
other bacteria – blue (FISH probe EUBmix)
Trichococcus form often filaments, but not always
  average length is < 10 µm
They are found in high abundance in the incoming wastewater
Seem not to grow in activated sludge
Abundancce overestimated by amplicon sequencing

## Slide 21
Process type
Temperature
Sphaerotilus in regions with higher temperature and C-removal
Industrial load
Unpublished
Sphaerotilus

## Slide 22
Chloroflexi worldwide

## Slide 23
Chloroflexi - diverse and common
FISH probe available
Francesca Petriglieri
Zivile Kondrotaite
Top 15 abundant Chloroflexi genera:
Petriglieri et al., 2023 mSystems

## Slide 24
Chloroflexi – many novel filaments discovered
Ca. Epilinea (yellow)
Ca. Brachythrix (magenta)
Ca. Trichofilum (magenta)
Ca. Flexifilum (magenta)
Ca. Leptofilum and
Ca. Leptovillus (yellow)
Ca. Amarobacter (magenta)
Ca. Amarofilum (white)
Ca. Pachofilum (white)
Ca. Tricholinea (magenta)
Ca. Defluviifilum (yellow)
Petriglieri et al., 2023 mSystems
rod-shaped!

## Slide 25
Ca. Amarolinea causes problems in many Danish plants
Center for Microbial Communities | Aalborg Universityp
% read abundance
Causes poor settling
(high DSVI)
DSVI
long time-series 2015-2022
aalborgensis

## Slide 26
http://midasfieldguide.org/

## Slide 30: Operational problem: Filamentous bacteria – poor settling and foaming
Important functional guilds – who and how?
Thick, massive foam layer
??
Identification
Quantification
Surveillance
Control measures?

## Slide 31: Know your plant!
Surveillance (Weekly sampling)
Composition of all bacteria (species level with names)
Functional groups (filaments, nitrifiers, etc.)
Compare to other plants – what is normal in the region?
Variations over time – seasonal patterns?
Do specific filamentous species correlate with bulking/foaming?
Test of control measures
……..

## Slide 32
Species | Foam/bulking | Industrial/municipal | Control
Ca. Microthrix | F and B | Mun. | Chemical (PAX)
Gordonia | F | Indust. + Mun. | Chemical (BC100)
Skermania | F | Indust. + Mun. | Chemical (BC100)
Thiothrix | B | Indust. | Removal of S, selector
Ca. Amarolinea | B | Mun. | ??
Ca. Alysiosphaera | B | Indust. | ??
Neomegalonema | B | Indust. | ??
……. |  |  | 
Control measures
General control measures: Addition of H2O2, ozone, chlorine
Specific control measures: Addition of specific chemicals, addition or removal of specific nutrients, change in operation (oxygen level, selectors), others

## Slide 33
Filamentous bacteria are important members of microbial communities needed for good floc structure
Nearly all filamentous genera are identified, physiology known for some – check MiDAS Fieldguide
Few genera can in high abundance cause foaming and bulking
They have different ecological niches, but still not well-known what controls their presence
Dominant filamentous organisms worldwide: Ca. Microthrix, Sphaerotilus, Trichococcus, and Chloroflexi filaments. Some geographical difference in abundance
Species resolution is important
Know your plant!
Control measures exist against some, not all
Conclusions

## Slide 34
Course on Microbiology and Metabolism
Acknowledgments
The MiDAS Team in Aalborg:
Marta Nierychlo, Susan Hansen, Morten Dueholm, Caitlin Singleton, Miriam Peces, Kasper Andersen, Marie Risgaard-Jensen, Francesca Petriglieri, Giulia Dottorini, Zivile Kondrotaite, Jette Petersen, Yijuan Yu, Nick Green, Sofie Sacho Vestergaard, Martin Andersen, Per Halkjær Nielsen.