## Slide 1
Course on Aerobic Granular Sludge
Advanced Process Control
Edward J.H. van Dijk

## Slide 2: Who am I
dr. ir. E.J.H. (Edward) van Dijk
1999 MSc. Environmental Engineering Wageningen University
25 years in RHDHV
Senior researcher Nereda®
Involved in Nereda development since 2007
Responsible for Nereda R&D since 2015
2016 – 2022 PhD “Principles of the Full Scale Aerobic Granular Sludge Process” at TU Delft

## Slide 3: Outline
Batch scheduling
Growing granules
Limiting effluent suspended solids
Section 11.2
Section 11.4

## Slide 4
Process control
Batch scheduling

## Slide 5: Continuous systems vs batch systems

## Slide 6: Continuous systems vs batch systems
Continuous
Batch

## Slide 7: Nereda cycle

## Slide 8: Multiple reactor set-up – 3 reactors
Influent
Effluent

## Slide 9: Multiple reactor set-up – 2 reactors + buffer
Influent
Effluent

## Slide 10: Multiple reactor set-up – many reactors
Influent
Effluent

## Slide 11: Puzzle of batch scheduling
continuous intake of wastewater
maximize duration reaction phase
minimize non-reactive time (settling, wasting)
optimize anaerobic reaction time
meet requirement
handle flow and load variations

## Slide 12: Example batch scheduling – 2N+B

## Slide 13: Scheduling with 2 reactors

## Slide 14: Scheduling with 3 reactors

## Slide 15: Scheduling with a buffer

## Slide 16: Compare 2R + B and 3R
case:
2 reactors + buffer vs 3 reactors
30 minutes settling time
maximum VER of 45%
ttotal = tfeed+treact+tsettle
play with cycle time to optimize treact (minimize inactive time)

## Slide 17: Efficiency
Efficiency defined as fraction of time in react phase
Buffer keeps reactors longer in react phase

## Slide 18
Selective pressures
How do they grow

## Slide 19: Granulation in practice
lag phase
granulation phase

## Slide 20
1000 µm
5000 µm
Flocs
Large granules
Small granules
200 µm
50 µm
100 µm
Proto granules
increasing sludge concentration
improving biofilm kinetics
breaking
bulk settling
floc-like conversions
granule settling
Floc-like
AGS

## Slide 21: Let’s make a granulation model
life cycle of individual (groups of) granules
plug flow in the reactor
diffusion and kinetics in the biofilm
settling of granules
On the mechanisms for aerobic granulation - model based evaluation,
van Dijk et al. (2022)

## Slide 22: Model setup
1
2
3
4
5
6
7
1D backmixing model
alternating anaerobic/aerobic conditions
wasting the top of the sludge bed
breaking of granules
2 substrate types: GFS/nGFS
diffusion / reaction model
hindered settling model

## Slide 23: Reference reactor
Sequencing batch reactor with constant volume
Simultaneous feeding (bottom) and decanting (top)
Plug flow feeding
Target MLSS 8 g L-1
Depth 6 meter
Exchange ratio of 25%
500 mg L-1 of COD
  200 mg L-1 GFS
60 minutes of feeding
Notes: 23

## Slide 25: scenarios
R: reference
A: mixed feeding
B: 15 min feed
C: 30 min feed
D: no selective wasting
E: less GFS
F: no selective feeding

## Slide 26: Mechanism 1: feast/famine
growth rate << substrate uptake rate  dense & stable biofilm
biological selection granule forming bacteria
substrate in bulk liquid leads to flocs
anaerobic feast
aerobic growth

## Slide 27: Mechanism 2: selective wasting
Selective wasting recognized as driver for granulation from first publications
Flocs always grow in AGS system
Fast settling granules are not spilled
Slow settling flocs are spilled and removed from the reactor
Waste

## Slide 28: Mechanism 3: flow regime
Plug flow feeding  exposure to high concentrations
Maximize penetration of large granules

## Slide 29: Mechanism 4: granule forming substrate
Not all substrates lead to granules
Granule forming substrate (GFS)
  Anaerobically taken up by granules
non-Granule forming substrates (NGFS)
  Aerobically yields flocs
NGFS
GFS

## Slide 30: Mechanism 5: selective feeding
Large granules settle faster (>30 m h-1) then small granules and flocs (1-5 m h-1)
Reactors fed from the bottom
Large granules reach bottom in few minutes
Larger granules get more food and grow faster

## Slide 31: Mechanism 6: breaking of granules
At first all granules come from flocs
When granules grow, they break-up in pieces
New granules grow from the pieces
After 365d almost 20% originates from breakage

## Slide 32: Recall: granulation in practice
lag phase
granulation phase

## Slide 33: Recall: granulation in practice
proto+floc
small
large

## Slide 34: Reference case modelled
lag phase
granulation phase
Notes: 34

## Slide 35: Reference case modelled
1
1
2
3
4
5
Building up selection pressure
Improving granule size distribution
Small granules take over
MLSS is controlled
Medium size granules dominate
2
3
4
5
Notes: 35

## Slide 36
Notes: 36

## Slide 37
Effluent suspended solids
Effect of degassing of nitrogen gas

## Slide 38: Scaling up a technology
3 L lab reactor
1.6 m3 pilot reactor
300 000 m3 full-scale reactors

## Slide 39: Differences lab and full scale
parameter | labreactor | full scale reactor
volume | 3 l | > 10.000 m3
water depth | 1.20 m | >6 m
effluent | together with selective wasting | separate phase
denitrification | only SND | SND + pre and post denitrification

## Slide 40: Origin of effluent suspended solids

## Slide 41: Batch conversions

## Slide 42: Batch conversions

## Slide 43: Nitrogen removal
SND
TNR
SND: simultaneous nitrification and denitrification
TNR: total nitrogen removal
Aerobic layer
NH4+ to NO3-
Anoxic layer
NO3- to N2

## Slide 44: Nitrogen removal – NH4 absorption
SND: simultaneous nitrification and denitrification
TNR: total nitrogen removal
SND
TNR

## Slide 45: Nitrogen removal – organic N
SND: simultaneous nitrification and denitrification
TNR: total nitrogen removal
TNR
SND

## Slide 46: Nitrogen removal – N2 production
biomass
dinitrogen

## Slide 47: Solubility of nitrogen gas – water depth

## Slide 48: Solubility of nitrogen gas – water depth

## Slide 49: Nitrogen stripping phase
End denitrification
The water is saturated with N2 at all heights.
indicate 3m water displacement during feeding
Stripping phase
N2 concentration is decreasing due stripping with air at the end of the batch.
Start feeding
N2 concentration low enough to avoid bubble formation during feeding.

## Slide 50: Effect in practice – stripping phase

## Slide 51: Effect in practice – baffle

## Slide 52
Effluent suspended solids
The result

## Slide 53
This video was created by:
Edward van Dijk
Annie Blissit
Wieteke van Hooijdonk