## Slide 1
Course on Wastewater Disinfection
Halogen Physical Chemistry
Ernest R. Blatchley III

## Slide 2
Halogens
Image from: https://www.sciencenewsforstudents.org/article/scientists-say-periodic-table
Halogens:
  Fluorine (F)
  Chlorine (Cl)
  Bromine (Br)
  Iodine (I)
  Astatine (At)
Group VIIA (7 valence e-)
General Molecular Form: X2

## Slide 3
Fundamental Equilibria of Halogens in Aqueous Solution

## Slide 4: Chlorine Equilibria
Equilibrium Reaction | Equilibrium Expression (25°C)

## Slide 5
Free Chlorine Distribution

## Slide 6: Chemical Disinfectants (Halogens)
Generally accomplish microbial inactivation by inducing chemical damage to one or more critical biomolecules
Halogens participate in two general types of reactions
  Oxidation/Reduction (redox, e- transfer)
  Substitution
Ability to accept electrons (e-) is quantified using Standard Redox Potential
Image from: Cai et al. (2021) “Traditional and Emerging Water Disinfection Technologies Challenging the Control of Antibiotic-Resistant Bacteria and Antibiotic Resistance Genes,” ACS EST Engg., 1, 7, 1046–1064.

## Slide 7
Each mole of these forms of free chlorine has the ability to accept 2 moles of electrons
These forms of free chlorine are described as being “electrochemically equivalent,” in that they all have the same ability to accept electrons
Standard Redox Potential provides an indication of the “driving force” for electron transfer to take place

## Slide 8
Free Chlorine Definition

## Slide 9
Summary