## Slide 1
Course on Wastewater Disinfection
Disinfection with UV Radiation, Photochemical Kinetics
Ernest R. Blatchley III

## Slide 2
Kinetics of Elementary, Bimolecular Chemical Reaction

## Slide 3
Kinetics of a Pure Photochemical Reaction

## Slide 4
Image from: López-Vilanova et al., (2014) “Photochemical crosslinking of poly-(ethylene–butyl-acrylate) copolymers functionalized with anthracene moieties by reactive extrusion,” European Polymer Journal, 56, 69-76.
Applications of Photochemical Reactors
Disinfection
  Water, wastewater
  Air
  Surfaces
Pure photolysis (e.g., NDMA)
Promotion of radical formation
  Advanced Oxidation Processes (AOPs)
  Advanced Reduction Processes (ARPs)
Photochemical curing
Photo courtesy of
Trojan Technologies
Image from: https://www.trojanuv.com/about/
news/tucson-s-aop-water-treatment-
facility-wins-design-award-1371
Image from: https://eurecat.org/en/eurecat-
successfully-tests-system-e-vila-
projects-disinfect-face-masks/
Image from: https://www.cdc.gov/coronavirus/2019-ncov/community/ventilation/uvgi.html

## Slide 5
Summary
Logic used in describing the kinetics (rate) of a photochemical reaction is analogous to logic used to describe the kinetics (rate) of an elementary, bimolecular reaction
  Availability of photons described by fluence rate (irradiance)
  UV dose is the master variable for photochemical reactions
Photochemical reactors are used for a wide range of applications
  Disinfection (water, air, surfaces, medical instruments, food processing, etc.)
  Pure photolysis
  Promotion of radical-mediated processes (oxidation or reduction)
  Photochemical curing